## Feuil1
| Final status | PreScreening incidents | PreScreening result | PostScreening incidents | PostScreening result | Reflow | Other uses | New PostScreening Test incidents | New PostScreening Test result
101 | Reserved | chip OK, old criterion | OK | Accident on one gain test | OK | OK 1, 2, 3 | BEB1 test
102 | Ready |  | OK |  | OK
103 | Ready | channel on test 1 | OK |  | OK
104 | Ready |  | OK | noise | Pending |  |  |  | OK
105 |  | noise | Pending | linearity, noise | Rejected |  |  | noise | Reserved
106 | Ready |  | OK |  | OK
107 | Ready |  | OK |  | OK
108 | Ready |  | OK |  | OK
109 |  | rejected by Promex | OK |  | OK
110 | LAL | channel on test 1 | OK |  | OK
111 |  | rejected by Promex, power consumption | Rejected | power consumption | Rejected
112 |  | rejected by Promex | Rejected | changing number of bad channels | Rejected
113 | Ready | channel on test 1, noise | Pending | noise | Pending |  |  |  | OK
114 |  |  | OK |  | OK
115 | Reserved | channels on 4 tests | Rejected | noise | Pending |  |  | noise 1,2,3 | Pending
116 |  | rejected by Promex | OK |  | OK
117 | Ready | channels on 2 tests | OK |  | OK
118 |  | rejected by Promex | Rejected |  | Rejected
119 |  | rejected by Promex, power consumption | Rejected |  | OK
120 | Ready | channel on test 1 | OK |  | OK
121 |  | rejected by Promex | OK |  | OK
122 |  | rejected by Promex | Rejected |  | Rejected
123 | Ready | channels on 3 tests | Rejected | noise | Pending |  |  |  | OK
124 | Ready |  | OK |  | OK |  |  |  | OK
125 |  | rejected by Promex | Rejected |  | Rejected
126 | Ready |  | OK |  | OK |  | BEB1 test
127 |  | rejected by Promex | OK |  | OK
128 | Ready |  | OK |  | OK
129 | Ready | channels on 1 test | OK | linearity | Pending |  |  |  | OK
130 | Ready | noise | Pending | noise | Pending |  |  |  | OK
131 | Ready |  | OK | low gain | Pending |  |  |  | OK
132 |  |  | OK |  | OK
133 |  | rejected by Promex | OK |  | OK
134 |  | rejected by Promex | OK |  | OK
135 | Ready | noise | OK |  | OK
136 |  | rejected by Promex | OK |  | OK
137 | Used | noise | OK | low gain | Pending | OK on soldered board |  |  | OK
138 | Ready | missing channels until test 5 | OK | low gain | Pending |  |  |  | OK
139 | Ready | noise | OK | gain noise | Pending |  |  |  | OK
140 | Ready |  | OK | gain linearity | Pending |  |  |  | OK
141 |  | one channel at half, valid at LAL | OK
142 | Ready |  | OK |  | OK
143 | Ready | one channel at half (1.5 runs) |  | one channel at half (1 run) | OK
144 | Ready | missing channel on run 1 | OK | low gain | Pending |  |  |  | OK
145 |  | rejected by Promex
146 | Ready |  | OK |  | OK
147 |  | noise (test 1), low gain (test 2) | OK
148 |  | channels on test 1 and 2, low gain | OK
149 | LAL | 7 tests with channels / gain issues | Rejected | low gain | Pending |  |  |  | OK
150 | Ready | channels on 4 tests | Pending | low gain noise | Pending |  |  |  | OK
151 |  | rejected by Promex |  | missing channel (3 tests) | Rejected
152 | Ready | channels on 2 tests | OK | low gain (2 tests) | Pending |  |  |  | OK
153 | Ready | channels on 4 tests | Pending | channel on test 1, low gain (2 tests) | Pending |  |  |  | OK
154 |  | rejected by Promex | Rejected
155 | Ready |  | OK |  | OK
156 |  | rejected by Promex | OK |  | OK
157 | Rejected | no signal, 4 tests | Rejected | no signal, 2 tests | Rejected
158 |  | rejected by Promex | Rejected
159 | Ready | socket issue | OK |  | OK
160 |  | rejected by Promex | OK |  | OK
161 | Ready |  | OK |  | OK
162 | Reserved | noise | Pending | 3 socket tries, low gain | Pending | OK 1, 2, 3
163 |  | rejected by Promex | OK
164 |  | rejected by Promex | Rejected
200 |  |  | LAL |  | OK
201 |  |  | LAL |  | OK
202 | Ready |  | OK |  | OK
203 | Ready | lost UDP, noise | OK |  | OK
204 | Reserved | TEMP value | OK | TEMP value | Reserved
205 | Ready |  | OK |  | OK
206 | Ready | lower gain on 1st run | OK |  | OK
207 | Ready |  | OK |  | OK
208 | Ready |  | OK |  | OK
209 | Ready |  | OK |  | OK
210 | Ready | noise | OK |  | OK
211 | Ready |  | OK |  | OK
212 | Ready |  | OK |  | OK
213 | Ready |  | OK | noise | Pending |  |  |  | OK
214 | Ready |  | OK |  | OK
215 | Ready |  | OK |  | OK
216 | Ready |  | OK |  | OK
217 | Ready |  | OK |  | OK
218 | Ready |  | OK |  | OK
219 | Ready |  | OK | gains too low | Pending |  |  |  | OK
220 | Ready |  | OK | low gain (2 runs) | Pending |  |  |  | OK
221 | Ready |  | OK |  | OK
222 | Reserved |  | OK |  | Pending |  |  | high noise (3 tests)
223 |  | noise | Pending |  | OK
224 |  |  | OK
225 | Ready | noise | Pending |  | OK
226 |  |  | OK | noise | Pending |  |  |  | OK
227 |  |  | OK |  | OK
228 | LAL | interrupted run | OK | low gain (2 runs) | Pending | OK 1,2,3 | gains
229 | LAL |  | OK |  | OK | OK 1,2,3 | ramps
230 |  |  | LAL |  | OK
231 |  |  | LAL |  | OK
232 |  |  | LAL |  | OK
233 |  |  | LAL |  | OK
234 |  | dead channel 0 | LAL | dead channel 0 | Rejected