## Feuil1
| Final status | PreScreening incidents | PreScreening result | PostScreening incidents | PostScreening result | Reflow | Other uses
101 | Reserved | chip OK, old criterion | OK | Accident on one gain test | OK | OK 1, 2, 3 | BEB1 test
102 |  |  | OK
103 |  | channel on test 1 | OK
104 |  |  | OK
105 |  | noise | Pending
106 |  |  | OK
107 |  |  | OK
108 |  |  | OK
109
110 |  | channel on test 1 | OK
111
112
113 |  | channel on test 1, noise | Pending
114 |  |  | OK
115 |  | channels on 4 tests | Rejected
116
117 |  | channels on 2 tests | OK
118
119
120 |  | channel on test 1 | OK
121
122
123 |  | channels on 3 tests | Rejected
124 |  |  | OK
125
126 |  |  | OK |  |  |  | BEB1 test
127
128 |  |  | OK
129 |  | channels on 1 test | OK
130 |  | noise | Pending
131 |  |  | OK
132 |  |  | OK
133
134
135 |  | noise | OK
136
137 |  | noise | OK
138 |  | missing channels until test 5 | OK
139 |  | noise | OK
140 |  |  | OK
141 |  | one channel at half | Pending
142 |  |  | OK
143 |  | one channel at half (1.5 runs)
144 |  | missing channel on run 1 | OK
145
146 |  |  | OK
147 |  | noise (test 1), low gain (test 2) | OK
148 |  | channels on test 1 and 2, low gain | OK
149 |  | 7 tests with channels / gain issues | Rejected
150 |  | channels on 4 tests | Pending
151
152 |  | channels on 2 tests | OK
153 |  | channels on 4 tests | Pending
154
155 |  |  | OK
156 |  | rejected by Promex | OK
157 |  | no signal, 4 tests | Rejected
158
159 | Ready | socket issue | OK |  | OK
160
161 | Ready |  | OK |  | OK
162 | Reserved | noise | Pending | 3 socket tries, low gain | Pending | OK 1, 2, 3
201
202 |  |  | OK |  | OK
203 |  | lost UDP, noise | OK |  | OK
204 | Reserved | TEMP value | OK | TEMP value | Reserved
205 |  |  | OK |  | OK
206 |  | lower gain on 1st run | OK |  | OK
207 |  |  | OK |  | OK
208 |  |  | OK |  | OK
209 |  |  | OK
210 |  | noise | OK
211 |  |  | OK
212 |  |  | OK
213 |  |  | OK
214 |  |  | OK
215 |  |  | OK
216 |  |  | OK
217 |  |  | OK
218 |  |  | OK
219 |  |  | OK
220 |  |  | OK
221
222
223
224
225 |  | noise | Pending |  | OK
226 |  |  | OK | noise | Pending
227
228 |  | interrupted run | OK | low gain (2 runs) | Pending | OK 1,2,3 | gains
229 |  |  | OK |  | OK | OK 1,2,3 | ramps
230
231
232
233
234
235
236